CLIENT COMFORT SYSTEM (CCS)

DESIGN MANUAL

Purpose

To instruct and assist designers specifying a Client Comfort System (CCS)

for British Columbia Buildings Corporation (BCBC).

Contents

Introduction - describes what to do and when to do it.

Specification Documents - describes how to prepare three types of  Specifications.

Resource Material - provides information on CCS and related issues and explains why BCBC has adopted particular methods and requirements.

Contacts:

Issue and Updates:	BCBC Technical Value Department (TVD) Secretary

Phone: (250) 952-8650	Fax:. (250) 952-8297

Review, Approvals, and Questions:    As advised by BCBC Project Manager

Intellectual Rights and Copyright

BCBC encourages the dissemination of the information contained in this manual, and encourages the use of the material as the basis for specifications, however, the work is the sole intellectual property of BCBC.  Permission to distribute portions of this manual without charge, or for the cost of reproduction and delivery, is granted without demur, but rights to distribution for more than the cost of reproduction and delivery, by any means, electronic or otherwise, are specifically reserved and subject to further negotiation with BCBC.  All copies, including copies used in procurement documents, shall be distributed with a prominent copyright notice recognizing BCBC as the original source of the material.  Further information on the use of this manual for non-BCBC projects, including the form of the acknowledgement, is contained in Section 0.7 of this manual.

INTRODUCTION

0.0	General Instructions			A	99/08/25

0.1		Updating this Manual				97/08/13

0.2		About BCBC and this Manual

0.3		Designers' Responsibility

0.4		Action Required of Designer

0.5 		Determining Primary Control System Type

0.6		Choosing the Specification Document to be used

0.7		Using This Document To Specify Non-BCBC Projects

SPECIFICATION DOCUMENTS

1.0	Lease Projects

1.1		Instructions to Designers			A	99/01/05

1.2	 	Intentionally not used for numbering consistency

1.3		Document - Performance Specifications Section 15940			A	98/04/09

1.4		Document - Conditions Of Contract Section 15915			A	99/06/25

2.0	Direct Bid Specification

2.1		Instructions to Designers			A	95/12/06

2.2	 	Intentionally not used for numbering consistency

2.3		Document - Performance Specification			A	99/08/25

3.0	New Construction - Request For Proposals (RFP)

3.1		Instructions to Designers			A	95/12/06

3.2		Document - Instruction to Proponents/Proposal Form 			A	99/01/07

3.3		Document - Performance Specification 			A	99/08/25

4.0 	Retrofit - Request For Proposals (RFP)

4.1		Instructions to Designers			A	95/12/06

4.2		Document - Instruction to Proponents/Proposal & Accept. Form 		A	99/08/27

4.3		Document - Performance Specification 			A	99/01/07

RESOURCE MATERIALS

5.0	Pre-approved Systems (Graphics/Startup Logic/Points Lists)

5.1		Intent Document			A	95/08/24

5A		Project Summary and Table of Contents			A	95/09/01

5C	 	Cooling Systems			A	97/05/22

5D		Dual Fan Dual Duct Air Systems			A	95/06/06

5E		100% Makeup Air Systems				96/06/10

5H		Heating Systems			A	97/06/09

5M		Multizone Air Systems			A	97/05/14

5O		Other Systems			A	97/05/14

5P		Pumps			A	95/09/01

5S		Single Zone/Terminal Reheat Air Systems			A	95/10/10

5T		Terminal Unit Controllers			A	98/10/30

5V		Variable Volume Air Systems			A	97/04/14

6.0	Naming Convention			A	97/05/14

7.0	Graphics Guidelines			A	94/05/05

8.0	Miscellaneous Resource Material			A	98/12/13

8.1		Dampers			A	95/05/08

8.2		Valves			A	95/05/08

8.3		ASDs			A	95/05/23

8.3.1		Pump Pressure Control Cost Comparison			A	94/09/12

8.4		Synchronous Belts			A	95/05/25

8.5		Sequence of Operation (Description of Start Up Code)			A	95/12/06

8.6		Why the CCS Manual was created			A	96/06/10

8.7		7 day Test Check Sheets			A	98/02/02

9.0	Optimization Guidelines  ( Draft )                                                                    D	97/05/28

9.C		Cooling Systems			D	97/05/28

9.V		Variable  Volume Air Systems			D	97/05/28

9.1		Manual Documentation Rules			A	99/01/25

10.0 	Example Document			A	94/10/31