“CLIENT COMFORT SYSTEM (CCS)”

REQUEST FOR PROPOSALS

Instructions to Proponents

and

Proposal Form

(for new projects)

NAME OF PROJECT:

BCBC PROJECT NO.

OWNER:	British Columbia Buildings Corporation

3350 Douglas Street

Victoria, British Columbia

V8Z 3L1

Project Manager

Phone Number

ARCHITECT:

MECHANICAL ENGINEERS:

ELECTRICAL ENGINEERS:

INVITATION FOR PROPOSAL

INSTRUCTIONS TO PROPONENTS

IP 1 - DOCUMENTS

1.1 Proposal Documents

1.2 General Contract Documents

IP 2 - PRE-PROPOSAL INQUIRIES

IP 3 - PARTICULARS AFFECTING TOTAL AMOUNT OF PROPOSAL

3.1 Scope of Work

3.2 Materials

3.3 Bonding

3.4 Insurance & Indemnity Requirements

3.5 Fair Wages

3.6 Taxes

3.8 Scheduled Completion

3.9 Extended Warranty

3.10 Unit Prices

3.11 Alternative Proposals

3.12 Spare Parts

IP 4 - COMPLETION OF PROPOSAL FORM

IP 5 - EXECUTION OF PROPOSAL

IP 6 - DELIVERY OF PROPOSAL

IP 7- REVISION OF PROPOSAL

IP 8 - ACCEPTANCE OF PROPOSAL

IP 9 - SCHEDULING OF WORK

IP 10 - DETAILS OF PROPOSAL EVALUATION

PROPOSAL FORM

PF 1.0  Project Description

PF 2.0 Project Number

PF 3.0 Proponent Identification

PF 4.0 Offer

PF 5.0 Governing Taxes

PF 6.0 Execution of Contract Documents

PF 7.0 Substantial Performance

PF 8.0 Addenda

PF 9.0 List of Subcontractors

PF 10.0  Other Requirements

PF 11.0  Alternative Prices

PF 12.0  Separate Price

PF 13.0  Signature

PF 14.0  Proposal Requirements Check List

Project #                              	Project Description:

Proposals are invited for a Client Comfort System (CCS) from Vendors of Direct Digital Control Systems.

Proposals will be received by the Project Development Group, British Columbia Buildings Corporation, __________________________________, until                                           at 2:00 p.m.

The successful proponent will be required to sign a contract as a sub-contractor to the Mechanical Contractor for the project.

Proposal Documents may be obtained on                                                                 from the Consultant                                                                                                                                               .

These documents are available upon receipt of a refundable deposit of a certified cheque in the amount of ONE HUNDRED DOLLARS ($100.00) payable to British Columbia Buildings Corporation.  Deposits will be refunded upon satisfactory return of proposal documents within one month of proposal closing date.

The General Contract Documents for the Project are available for viewing at                                                                                                                                                                                                           .

The lowest or any proposal will not necessarily be accepted.

General inquiries may be directed to the Project Manager,                                                                                            in Victoria at
Phone# ____________________________ Fax#:_____________________or the Consultant,                                                                         Phone #:                           ______.

(Note to Specifier: Insert Project Manager, Consultant, and corresponding phone numbers )

Prospective proponents are directed to examine carefully the following information.  Failure to follow the instructions given may result in proposal disqualification.

IP 1 - DOCUMENTS

1.1	Proposal Documents

(a)	Invitation for Proposal;

(b)	Instructions to Proponents;

(c)	Proposal Form;

(d)	CCS Performance Specifications and Drawings, Sections 15900 through 15940, and

(e)	Addenda, if any.

1.2	General Contract Documents

The successful proponent will be required to sign a contract as a sub-contractor to the mechanical contractor, and will be subject to all documents governing the work. The documents governing the work include items IPI Clause 1.1 (b) through (e) and the following:

(a)	Articles of Agreement

(b)	Terms of Payment

(c)	General Conditions

(d)	Insurance and Indemnity Requirements

(e)	General Requirements

(f)	Drawings and Specifications

(g)	Addenda and Appendices, if any

IP 2 - PRE-PROPOSAL INQUIRIES

2.1	All inquiries relating to CCS drawings and specifications, shall be directed only to the Mechanical Consultant:

IP 3 - PARTICULARS AFFECTING TOTAL AMOUNT OF PROPOSAL

3.1	Scope of Work

The Work consists of the Client Comfort System as specified in IP1 - Documents, Clauses 1.1 and 1.2.

Note:  The Corporation will issue an instruction to the General Contractor to

execute the Work covered by the Cash Allowance included in the  General Contract.

It will be a condition of the contract that the organization of labour for this Contractor shall be compatible with the labour force of the General Contractor.

It is the responsibility of the CCS proponent to refer to and to co-ordinate with all architectural, structural, mechanical, electrical, etc., drawings, specifications, addendums, change notices, clarification instructions, shop drawings, etc.

3.2	Materials

The Proposal shall be based on the use of materials specified in the Drawings and Specifications or approved alternates.

3.3	Bonding

The Proponent shall provide a Performance Bond and a Labour and Materials Payment Bond each in the amount of Fifty Percent (50%) of the Contract Price for the CCS within 14 days after the contract is awarded.

3.4	Insurance & Indemnity Requirements

Provide insurance as outlined in the General Contract Documents for the Project.

Refer to IP1 Clause 1.2.

3.5	Fair Wages

The successful proponent will be required to convenant to and abide by the provisions of the Skills Development and Fair Wage Act, SBC 1994, c.22 and those requirements as outlined in Article 6.

3.6	Taxes

The successful proponent will be required to pay all applicable taxes, permits, and fees in force during the progress of the project.

Under the Social Service Tax Act, the successul proponent is the consumer of all materials and equipment used or consumed in carrying out the terms of this contract.  As such, the successful proponent will be required to pay social services tax on all materials incorporated into the project and on machinery, equipment and supplies used to carry out the contract.  This tax is payable whether or not the materials, machinery, equipment or supplies have been purchaed in British Columbia.

NOTE:  THAT THE PROPERTY AND/OR SERVICES ORDERED/PURCHASED HEREBY ARE FOR THE USE OF, AND ARE BEING PURCHASED BY BRITISH COLUMBIA BUILDINGS CORPORATION WITH CROWN FUNDS, AND ARE THEREFORE NOT SUBJECT TO THE GOODS AND SERVICES TAX.

3.7	Terms of Payment

The terms of payment for the work are outlined in the Terms of Payment Document for the General Contract.

3.8	Scheduled Completion

The proponent is required to conform to the scheduling and Substantial Performance dates of the General Contract.

3.9	Extended Warranty

.1	A two (2) year extended warranty covering failure of any and all components provided under this contract starting at the end of the one year warranty period shall be shown as a separate price [refer to Proposal Form Item PF 12.1(1)].

.2	The extended warranty, covering failure of any and all components supplied under this contract, shall provide all material, parts and labour, including labour provided on an emergency response basis outside of normal working hours.  Labour shall include any related travel time, travel, accommodation, meals, and other related costs associated with providing warranty service.

.3	The proposal shall:

-	Describe how emergency warranty service calls are handled during day and night conditions, including guaranteed response time.

-	Describe the Vendor’s maintenance organization, including the number and experience of closest field service technicians.

3.10	Unit Prices

Submit with proposal, unit prices for all system components and hardware, (vendor supplied terminal equipment stand alone panels, terminal unit controllers and field devices used in this project) required to expand and maintain the system.  Unit prices shall be guaranteed through TWO (2) years past the Substantial Performance date.  Unit prices are for supply only.

3.11	Alternative Proposals

.1	General

The basic proposal must meet all requirements described in the Performance Specifications, Sections 15900 through 15940.

Proponents are encouraged to submit alternate proposals for a system which may provide enhanced performance and/or reduced cost. In the event that one or more of the Requirements will not be met by an alternative proposal, that proposal must:

-	identify, with specific references, each requirement that will not be met

-	specify what will be provided in lieu of each such deviation.

Each alternate proposal must be specifically identified, and any difference in cost from the “Total Amount of Proposal” for the base proposal shown (refer to Proposal Form, Item 11). Complete technical information concerning any and all differences between the base proposal and the alternate must be provided with the proposal to permit the Corporation to evaluate it.

.2	Non-DDC Controls

Although non-DDC controls have been specified for some unitary equipment, the Proponents are encouraged to propose DDC alternatives.  Provide a full description of the DDC alternatives.

.3	Custom Software Coding

The Corporation intends to implement additional control strategies following completion of the contract. The Corporation may need to contract the software coding work associated with these strategies. A proposal to provide software coding services is invited. Included background of the person who would do the coding, hourly rate and any applicable accommodation/living/travelling expenses, assuming the work would be carried out on-site.

3.12	Spare Parts

Indicate in your proposal what spare parts should be stocked on-site.

IP 4 - COMPLETION OF PROPOSAL FORM

4.1	Proponents shall submit their proposals on the Proposal Form included herein. The completed Form must be executed in accordance with provisions of IP 5 below.

4.2	Alteration(s), qualification(s) or omission(s) to the Proposal Form may render the Proposal liable to rejection by the Corporation.

4.3	All erasures or corrections to the proponent's entries on the Proposal Form must be initialed by the Proponent.

4.4	Each Proposal received from a Proponent must be accompanied by:

(a)	Detailed evidence of previous experience of similar installations, including a list of projects completed or underway.

(b)	A detailed description of the CCS and all of its components, both hardware and software, on which the proposal is based.  At a minimum the following is required:

.1	a block diagram of the DDC portion of the CCS, showing overall configuration and identifying all major components;

.2	a list, along with technical data of every hardware component to be provided, including standalone panels, terminal unit controllers, interface devices, communications devices and field devices.  See PS 6.1.5 Performance Specifications Section 15940;

.3	a detailed description of the operating system and Operator Control Language (OCL) software, and a list and description of all alarm, reporting and trending routines, and other application software shall be supplied;

.4	a schedule for the installation, showing milestone dates if unable to conform to the scheduling and Substantial Performance dates of the General Contract;

.5	a list of sub-contractors, if any; and

.6	a description of how each of the PS 2 through 5 of the Performance Specifications, Section 15940 have been met.  Refer to and complete the Proposal Requirements Check List at the end of the Proposal Form.

Provide TWO (2) complete sets of the foregoing information with the proposal.  These will be returned following Proposal evaluation if requested by the Proponent.  Any proprietary information must be so designated.

(c)	Any alternatives proposed under IP 3.11 - Alternative Proposals shall be clearly identified, detailed information supplied as described above, and the deductive or additive cost clearly indicated.  Any costs shall cover everything required to make the system fully operative with the proposed alternative incorporated.

IP 5 - EXECUTION OF PROPOSAL

5.1	The Proposal Form shall bear the date of signing and be executed by Proponents in accordance with one of the following requirements:

(a)	Limited Company  The full name of the company and the name(s) and status of the authorized signing officer(s) must be printed in the space provided for that purpose.  The signature(s) of the authorized officer(s) and the corporate seal must be affixed; or

(b)	Partnership  The name of the partnership and the name(s) of the person(s) signing must be printed in the spaces provided.  The Proposal Form must be executed by one or more of the authorized partners, who must sign in the presence of a witness who must also sign; or

(c)	Sole Proprietor  The business name and the name of the sole proprietor must be printed in the spaces provided.  The sole proprietor must sign in the presence of a witness who must also sign.

If a joint proposal is submitted, each of the joint proponents must execute the Proposal Form and related documents in the manner described in IP 4 and IP 5.

IP 6 - DELIVERY OF PROPOSAL

6.1	The properly completed and executed Proposal Form shall be enclosed only in the pre-addressed envelope provided by the Corporation.  That envelope shall be sealed and must be actually delivered into the possession of the Corporation along with supporting technical material as required by IP 4, at the address given in the advertised Invitation for Proposal prior to the time and date specified there for the closing of Proposals.  The name and address of the Proponent(s) and the project description must appear on the face of the supplied envelope.

Proposals and other related documents received after the advertised time and date of closing will not be considered by the Corporation.

IP 7 - REVISION OF PROPOSAL

7.1	A Proposal Form already delivered to the Corporation may only be revised in the manner described in IP 7.2 and to qualify, the revision must be actually received by the Corporation at the address given in the advertised Invitation for Proposal prior to the time and date specified there for the closing of Proposals.  The revision must be plainly referable to a particular Proposal.

7.2	Revisions shall be submitted only by signed letter delivered or transmitted by facsimile machine to the number given on the Invitation for Proposal.  Only the Proponent's entries on the delivered Proposal Form may be revised; the revision must state only the amount by which a figure is to be increased or decreased, or specific directions as to the exclusion or inclusion of particular words.  Any revision which states the actual total amount of a Proposal will be rejected by the Corporation.

IP 8 - ACCEPTANCE OF PROPOSAL

8.1	The lowest or any Proposal will not necessarily be accepted.

8.2	In the event only one Proposal is received, the Corporation reserves the right to open this proposal without reference to the Proponent.

IP 9 - SCHEDULING OF WORK

9.1	The successful proponent will become a Sub-Contractor to the Mechanical Sub-Contractor.  He will be required to conform to the scheduling and Substantial Performance date as directed by the General Contractor, and the Mechanical Sub-contractor.

IP 10 - DETAILS OF PROPOSAL EVALUATION

10.1	Proposals that comply with the Requirements of PS 2 through 5 of the CCS Performance Specifications Section 15940, will be evaluated based on the following criteria:

.1	The price quoted for the "Total Amount of Proposal", will form the basis of the evaluation.  Evaluation of Items .2 through .5 will each involve calculations to arrive at a capital cost credit or a capital cost penalty.  The credits and penalties will be subtracted from or added to the Total Amount of Proposal to arrive at an adjusted amount for the proposal for best value comparison.

.2	An amount equal to two times the amount of the Two Year Extended Warranty described in IP 3.9 will be added to the Total Amount of Proposal.

.3	Unit prices for all components must be provided with the proposal.  An amount equal to FIVE (5) percent of the cost for SAPs, TUCs and sensors used in the system will be added to the Amount of Proposal.  Unit costs for these components will be taken from the information provided in IP 3.10.

.4	A credit will be given for systems that inherently provide the following operator interface, data presentation, software and other features that are in excess of requirements of PS2 through PS5 of the CCS Performance Specifications, Section 15940.

.1	Graphing of Trend Log Data, Setup & Accessing - A credit will be given for systems that are easy to set up, produce easily readable graphs, and which are easily accessible during daily use.  Maximum credit will be ONE (1.0) percent of the Total Amount of Proposal.

.2	Graphing of Trend Log Data, Enhanced Functionality - A credit will be given for systems that provide enhanced functionality over the mandatory requirements in the Performance Specifications.  Such features include zooming, scrolling, automatic real time updates, colour printing from the graph and the ability to selectively select the trend log points from multi-point trends.  Maximum credit will be ONE (1.0) percent of the Total Amount of Proposal.

.3	Custom Access - A credit will be given for systems that provide the ability to create custom menus in text access mode that are linked to operator ID’s.  Credit will also be given to systems that provide the ability to link sets of custom graphics to operator ID’s.  Maximum credit will be ONE HALF (0.5) percent of the Total Amount of Proposal.

.4	Custom Text Screen Display - A credit will be given for systems that provide flexibility in the creation of custom screen displays in text access mode.  Important criteria are: flexibility in selecting points for display from anywhere in the CCS, ability to control screen format, point position and output from the screen.  Maximum credit will be ONE (1.0) percent of the Total Amount of Proposal.

.5	Operator Control Language (OCL) - The OCL in some systems includes powerful global operands or commands which simplifies the writing of application software.  Maximum credit will be ONE (1.0) percent of the Total Amount of Proposal.

.6	Operator Event History - Display of who accessed the system, the time of the event and changes made.  Credit of ONE HALF (0.5) percent of the Total Amount of Proposal.

.7	Effective System Processing and Display Speed - A credit will be given for systems that provide improved inter-SAP processing and display speed in order to enhance graphics use.  System performance will be judged based on Corporation-standard hardware connected directly to the system.  Maximum credit will be ONE (1.0) percent of the Total Amount of Proposal.

.5	A penalty will be levied against system for the following:

(a)	Command Feedback (Non-graphics Mode) - The ability for an operator to be able to issue a command without graphics and then see the results of the command on the screen display with a minimum of keystrokes is very important.  The number of keystrokes required will be evaluated for each system and the penalty will be proportional to the number of keystrokes required.  Maximum penalty will be ONE (1.0) percent of the Total Amount of Proposal.

- Buffers - Products which require an operator to manipulate a buffer as part of the operator interface are detrimental if extra steps are required to perform an operation, or if accidental cross-loading of database can occur.  The number of extra steps required to edit various types of database and the potential of accidental cross-loading will be evaluated for systems as such.  Maximum penalty will be TWO (2) percent of the Total Amount of Proposal

PF 1.0  Project Description

PF 2.0 Project Number

PF 3.0 Proponent Identification

Name

(hereinafter referred to as the "Proponent")

Address

Telephone Number

Worker's Compensation Board Clearance Number

PF 4.0 Offer

Having examined all the Proposal Documents, including the advertised Invitation for Proposal, Instructions to Proponents, Articles of Agreement and its Sections, as well as any addenda THE PROPONENT HEREBY OFFERS to the BRITISH COLUMBIA BUILDINGS CORPORATION (hereinafter referred to as "the Corporation") to execute the Work for the above-named Project in accordance with the Contract Documents at the place and in the manner set out for the amounts of:

($                              ).

In lawful money of Canada (the "Total Amount of Proposal").

PF 5.0 Governing Taxes

The Total Amount of Proposal is all inclusive of Provincial Sales Tax and all permits and fees.  The Total Amount of Proposal is not subject to the Goods and Services Tax (GST)  . In the event of a change in the rate of any tax made public after:

(a)	the date this Proposal was mailed or delivered or,

(b)	if this Proposal is revised, the date of the last revision,

The Total Amount of Proposal shall be increased or decreased in the manner provided in Terms of Payment, TP 9 [IP1 Clause 1.2(e)], subject always to the exceptions noted there.

PF 6.0 Execution of Contract Documents

If notified by the Corporation of the acceptance of its offer within twenty-eight (28) days of the proposal closing date, the Proponent offers to execute a contract as a sub-contractor to the Division 15 sub-contractor for the Project.  (Proponent to write name of contractor).

PF 7.0 Substantial Performance

The Proponent offers to perform the Work to conform to the scheduling and Substantial Performance date as specified in the main Contract.

PF 8.0 Addenda

This Proposal Form includes the following addenda:  (List addendums for both DIV 15 work and the CCS Proposal)

Addenda No.	Date				Description

PF 9.0 List of Subcontractors

The Proponent proposes to sub-contract the following parts of the Work to the Sub-Contractor listed for each part.  In the Proponent's opinion the Sub-Contractors named are reliable and competent to perform that part of the Work for which each is listed.

PART OF THE WORK						SUBCONTRACTOR'S LEGAL NAME

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

PF 10.0  Other Requirements

10.1	The Proponent offers to:

(a)	furnish the payment breakdown in accordance with the Terms of Payment;

(b)	provide input as required by General Requirements Section 01310 Construction Schedule and conform to the General Contractor's detailed construction schedules.

10.2	This offer is irrevocable and shall remain open for acceptance by the Corporation for a period of twenty-eight (28) days from the time and date specified for closing of tenders contained in the advertised Invitation for Proposal.

10.3	The Proponent offers to:

(a)	Provide a Performance Bond and a Labour & Materials Payment Bond, each in the amount of FIFTY PERCENT (50%) of the Contract Price, within 14 days of contract award.

PF 11.0  Alternative Prices

The following are alternative prices and may form part of the Contract.  These amounts are NOT to be included in the Total Amount of Proposal.

ADD	DEDUCT

1.	                                             	$                              	$

2.	                                             	$                              	$

3.	                                             	$                              	$

PF 12.0  Separate Price

12.1	The following separate price does not form part of the Contract.  This amount is NOT to be included in the Total Amount of Proposal.

(i)	To provide the Extended Warranty for the Client Comfort System in accordance with the requirements of IP 3.9.

$

(ii)	To provide static screen software in accordance with PS 2.6.

$

PF 13.0  Signature

IN WITNESS WHEREOF the Proponent has hereunto set his hand and seal and where a Proponent is a corporate entity the corporate seal of the said company has been affixed in the presence of its duly authorized officers this                                               day of                                    19        .

SIGNED SEALED AND DELIVERED BY the

Proponent in the presence of

(a)

(c)	                                 (seal)

(b)

If the Proponent is not incorporated, he or she should sign on line (c) in the presence of a single witness who should sign on line (a).  If incorporated, only the authorized signing officer(s) of the Proponent should sign on lines (a) and (b) and the corporate seal should be impressed on line (c).

PF 14.0  Proposal Requirements Check List

This Clause contains a listing of the technical data and information which must accompany the Proposal.  Failure to provide this information may result in rejection of proposal.

Reference	In Compliance

| .1 Description of how access requirements to DDC system are accomplished from the various operator interface devices | PS 2.1 |  |
| --- | --- | --- |
| .2 Password security levels | PS 2.2 |  |
| .3 Modem | PS 2.3 |  |
| .4 Programmability | PS 3.1 to 3.8 |  |
| .5 Alternative and Separate Prices - Extended Warranty - System Expansion - Alternate Proposals - Custom Software Coding - List of Spare Parts - Static Screen Software | IP 3.9 IP 3.10 IP 3.11.1 IP 3.11.3 IP 3.12 PS 2.6 |  |
| .6 Description of network communications | PS 4.1 |  |
| .7 Description of data highway isolation | PS 4.1.1.3 |  |
| .8 Block Diagram | IP 4.4(b).1 |  |
| .9 Product data on all system components, hardware and software | IP 4.4(b).2 |  |
| .10 Description of power surge protection | PS 5.1 |  |
| .11 Description of power failure protection | PS 5.2 |  |
| .12 Random Access Memory (RAM) calculations | PS 5.6 |  |
| .13 Confirmation of required processing speeds | PS 4.2 and 5.7 |  |
| .14 List of recent and current projects | IP 4.4(a) |  |
| .15 Details of organization and name of Project Manager who would manage the project if awarded |  |  |
| .16 Details of proponent’s maintenance organization |  |  |