## Sheet1
Project Number: |  | Project Name:
Graphic Logic Location |  | Point Name Mnemonic |  | Point | Hardware Point |  |  |  | Virtual | Notes See Page # Note | Note
| Point Description | System | Point | Type | DO | DI | AO | AI | Point | Comments | #
1 | Chiller Control |  | ENBL | CR1 | 1
2 | Chiller Status |  | S | CRS |  | 1
3 | Chiller Program |  | PG | PG |  |  |  |  | 1
4 | Chiller Run Hours |  | TZ | TZ |  |  |  |  | 1
5 | Chiller Reset |  | CR | DDC |  |  | 1
| Chiller Controller |  | CO | CO |  |  |  |  | 1 | use RWT:RWT_SP
6 | Chiller Trendlog |  | TL | TL |  |  |  |  | 1 | CR,SWT,RWT,ENBL
7 | Chilled Water Pump |  | P1 | CR1 | 1
8 | Chilled Water Pump Status |  | P1_S | V |  |  |  |  | 1
9 | Chilled Water Pump Amps |  | P1_AMP | CS1 |  |  |  | 1
10 | Supply Water Temperature |  | SWT | PTS1 |  |  |  | 1
11 | Return Water Temperature |  | RWT | PTS1 |  |  |  | 1
12 | Return Water Setpoint |  | RWT_SP | V |  |  |  |  | 1
| Total |  |  |  | 2 | 1 | 1 | 3 | 6