## Sheet1
5.D PRE-APPROVED DUAL FAN DUAL DUCT AIR SYSTEM TYPES
Assumption:
All systems have one supply fan and a full outside air economizer mixed air section.
System | Return | Modulating | On Off | Modulating | Evaporative | Status | Updated
Type | Fan | Heating | Cooling | Cooling | Cooling
A | X | X | X |  | X | Approved | 94/10/28
B | X | X | X |  |  | Approved | 95/02/08
C
D
E
F
G
H
I
J
K
L
M
N
O
P