## Sheet1
5.E PRE-APPROVED 100% MAKEUP AIR SYSTEM TYPES
System | Exhaust | Modulating | Heat | Status | Updated
Type | Fan | Heating | Recovery
A |  | X |  | No
B |  | X | X | No
C | X | X |  | Yes | 96/06/10
D | X | X | X | No
E |  | X - GAS |  | No
F |  | X - GAS | X | No
G |  | X - GAS |  | No
H |  | X - GAS | X | No
Custom
5_VY1 | Variable volume with heat recovery with heating and cooling, evaporative cooling on exhaust (BCCDC)
5_VX1 | Variable volume with heating and cooling (BCCDC)
5_VV1 | Constant volume with heating and cooling and standby air system (animal room) (BCCDC)
5_VU1 | Constant volume with heating and cooling, standby air system and fume hood (BCCDC)