## Sheet1
Project Number: |  | Project Name:
Graphic Logic Location |  | Point Name Mnemonic |  | Point | Hardware Point |  |  |  | Virtual | Notes See Page # Note
| Point Description | System | Point | Type | DO | DI | AO | AI | Point | Comments | #
97 | Outside Air Temp Program |  | OAT_PG | PG |  |  |  |  | 1 | OAT=MIN(OAS...)
98 | Outside Air Temp Trendlog |  | OAT_TL | TL |  |  |  |  | 1 | OAT,OAS1,OAS2
99 | Outside Air Temperature |  | OAT | V |  |  |  |  | 1
| Outside Air Temperature |  | OAS1 | OTS |  |  |  | 1
Total